{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["BWAVE Instrument List"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"BWAVE Instrument List","index":0,"n_rows":41,"n_cols":9,"rows_kept":41,"flags":["formulas_cached_only"]}
[{"$nulls":7},"更新","2015-04-02"]
[{"$nulls":7},"更新","2014-05-22"]
[{"$nulls":7},"更新","2013-11-25"]
[{"$nulls":7},"新規","2011-10-14"]
[{"$nulls":8},"BWAVE Technology co.,Ltd."]
[null,"No","分類","名称","Name","Type","Maker","数量","Key Parameter"]
[null,"BWAVE001","基本","稳压电源1","DC Power Supply instrument","GPS-3303C","GW INSTEK",4,"3 Channells "]
[null,"BWAVE002","基本","稳压电源2","DC Power Supply instrument","CA1713A","CALTEK",4,"3 Channells"]
[null,"BWAVE003","基本","稳压电源3","DC Power Supply instrument","DH1718E-5","DaHua",1,"1 Channel"]
[null,"BWAVE004","基本","稳压电源4","DC Power Supply instrument","TPR3020H","ATTEN",1,"1 Channel"]
[null,"BWAVE005","基本","稳压电源5","DC Power Supply instrument","TPR-1820D","ATTEN",1,"1 Channel"]
[null,"BWAVE006","基本","稳压电源6","DC Power Supply instrument","TPR3005-3C","ATTEN",2,"3 Channells"]
[null,"BWAVE007","基本","稳压电源7","DC Power Supply instrument","JC1733SS","JINGCE",1,"3 Channells"]
[null,"BWAVE008","基本","电源测量仪","Power Meter","ML2437A","Anritsu",1]
[null,"BWAVE009","基本","示波器1","Oscillograph","TDS2012","Tektronix",1,"100MHz"]
[null,"BWAVE010","基本","示波器2","Oscillograph","TDS2024B","Tektronix",1,"200MHz"]
[null,"BWAVE011","基本","示波器3","Oscillograph","54610B","HewlettPackard",1,"500MHz"]
[null,"BWAVE012","基本","逻辑分析仪1","Digital Signal Logic Analyzer","LAP-16128U","Zeroplus",1,"16 Channells"]
[null,"BWAVE013","基本","逻辑分析仪2","Digital Signal Logic Analyzer","1664A","HewlettPackard",1]
[null,"BWAVE014","基本","多种信号发生器","Multi Test Signal Generator","TG39","ShibaSoku",1]
[null,"BWAVE015","基本","电感/电容测量仪","Inductor/Capacitor Tester","VC6243","Victor",1]
[null,"BWAVE016","通信","USB逻辑分析仪器","USB Protocol Analyzer","HD-USB480-I","Shenzhen H.D. Technology",1,"16.67ns"]
[null,"BWAVE017","通信","调制信号发生器","Digital Modulation Signal Generator","MG3681A","Anritsu",1,"250KHz-3GHz,3GHz-6GHz"]
[null,"BWAVE018","通信","频谱测试仪 ","Digital Mobile Radio Transmitter Tester","MS8609A","Anritsu",1,"9KHz~13.2GHz"]
[null,"BWAVE019","通信","信号发生器","Signal Generator","AFG3102","Tektronix",1]
[null,"BWAVE020","通信","WCDMA信号测试仪","WCDMA Signal tester","MD8480A","Anritsu",1]
[null,"BWAVE021","DTV","中国地面标准 数字电视信号发生器","China DTV Signal Generator","3530A-001","Eiden",1]
[null,"BWAVE022","DTV","ISDB-T信号发生器","ISDB-T System Signal Generator","3511C-001","Eiden",1,"1-seg & full-seg"]
[null,"BWAVE023","DTV","衰减仿真器","Fading Simulator","4409A-202","Eiden",1]
[null,"BWAVE024","DTV","BER测试器","BER Tester","7708A-001","Eiden",1]
[null,"BWAVE025","DTV","多系统数字电视 信号发生器","Multi System Digital Signal Generator","3513B-302","Eiden",1]
[null,"BWAVE026","DTV","电视信号发生仪","TV Pattern Generator","GV-898","PROMAX",1]
[null,"BWAVE027","基本","万用表1","Multimeter","VC9805A","Victor",2]
[null,"BWAVE028","基本","万用表2","Multimeter","UT33A","UNI-T",1]
[null,"BWAVE029","基本","万用表3","Multimeter","UT33D","UNI-T",1]
[null,"BWAVE030","設備","屏蔽测量室","Shield Tester Room","BW-001","BWAVE 客制化屏蔽室",1]
[null,"BWAVE031","設備","IC 恒温箱","IC keep BOX","OM-240SE","OUSTER",1]
[null,"BWAVE032","設備","IC 烘烤箱","IC baker BOX","STY-001","苏州中泰烘箱设备有限公司",1]
[null,"BWAVE033","基本","示波器4","Oscillograph","DPO4104B-L","Tektronix",1,"1Ghz"]
[null,"BWAVE034","設備","抽真空机器","Vacuum package machine","DZ-500-2D",null,1]
[null,"BWAVE035","設備","网络分析仪",",vector network analyzer","ZND","ROHDE&SCHWARZ",1]